## 화면 data mapping
Page | 화면내 위치 | 화면내 데이터 | 컬럼명 | DB 단위 | 화면 표시 단위 | Table | DB
1-2-1. 풍력HM-HOME-Main | 1. 발전소 기본정보 | 발전소 이름 | WT_NAME | - | - | TB_GROUP_INFO | 2023_tswd_dalk
|  | Turbine Status | WT_ST | - | - | TB_SCADA_AD_1S
| 2. 기상반정보 | MET - Wind Direction | WD_DIR | º (deg) | º (deg) | TD_MET | wt_rams | NULL
|  | MET - Wind Speed | WD_SPD | m/s | m/s |  |  | NULL
|  | MET - Temperature | AIR_TEMP | ℃ | ℃ |  |  | NULL
|  | NAC - Wind Direction | WNAC_WD_DIR | º (deg) | º (deg) | TB_SCADA_AD_1S | 2023_tswd_dalk
|  | NAC - Wind Speed | WNAC_WD_SPD | m/s | m/s
|  | NAC - Temperature | WNAC_EX_TMP | ℃ | ℃
| 3. 풍력발전기 이미지 | Rotor RPM | ROT_SPD | rpm | rpm | TB_SCADA_AD_1S | 2023_tswd_dalk
|  | Pitch Angle | PITCH_ANGLE_MEAS | º (deg) | º (deg) | TD_DA_OUTPUT | wt_rams | NULL
|  | Yaw Angle | WYAW_YAW_ANG | º (deg) | º (deg) | TB_SCADA_AD_1S | 2023_tswd_dalk
|  | 역률 | GI_PF | - | -
|  | 주파수 | WCNV_HZ | Hz | Hz
| 4. 기본 모니터링 정보 | Entire Turbine Health Index | TURBINE_HEALTH_INDEX | % | % | TD_SC_OUTPUT | wt_rams
|  | Active Power | TOT_WH | Wh | Wh | TB_SCADA_AD_1S | 2023_tswd_dalk
|  | 일 누적 발전량 | TD_SCADA_AD_1H에서 차분하여 표시 (ex. 6월 25일 10시 기준 발전량: (6월 25일 10시 tot_wh) - (6월 25일 00시 tot_wh)
|  | 월 누적 발전량 | TD_SCADA_AD_1D에서 차분하여 표시 (ex. 6월 25일 10시 기준 발전량: (6월 25일 10시 tot_wh) - (6월 1일 00시 tot_wh)
1-3-1. 풍력HM-Overview-Blade&Pitch | Blade 1 | state | BLD_1_ST | - | - | TB_SCADA_AD_1S | 2023_tswd_dalk
|  | position | PT_ANG_VAL_BL_1 | º (deg) | º (deg)
|  | DC bus voltage | PT_CNV_DCL_VOL_BL_1 | V | V
|  | Torque | TQ_RMS_BL_1 | Nm | Nm
|  | Motor temp. | PT_MOT_TMP_BL_1 | ℃ | ℃
|  | Cabinet temp. | PT_CABI_TMP_BL_1 | ℃ | ℃
|  | Bending (Flapwise) | BM_FLAP | Pa | Pa | TD_DM_BLADE_ONE | wt_rams
|  | Bending (Edgewise) | BM_EDGE | Pa | Pa
|  | Torsion | TOR | Pa | Pa
| Blade 2 | state | BLD_2_ST | - | - | TB_SCADA_AD_1S | 2023_tswd_dalk
|  | position | PT_ANG_VAL_BL_2 | º (deg) | º (deg)
|  | DC bus voltage | PT_CNV_DCL_VOL_BL_2 | V | V
|  | Torque | TQ_RMS_BL_2 | Nm | Nm
|  | Motor temp. | PT_MOT_TMP_BL_2 | ℃ | ℃
|  | Cabinet temp. | PT_CABI_TMP_BL_2 | ℃ | ℃
|  | Bending (Flapwise) | BM_FLAP | Pa | Pa | TD_DM_BLADE_TWO | wt_rams
|  | Bending (Edgewise) | BM_EDGE | Pa | Pa
|  | Torsion | TOR | Pa | Pa
| Blade 3 | state | BLD_3_ST | - | - | TB_SCADA_AD_1S | 2023_tswd_dalk
|  | position | PT_ANG_VAL_BL_3 | º (deg) | º (deg)
|  | DC bus voltage | PT_CNV_DCL_VOL_BL_3 | V | V
|  | Torque | TQ_RMS_BL_3 | Nm | Nm
|  | Motor temp. | PT_MOT_TMP_BL_3 | ℃ | ℃
|  | Cabinet temp. | PT_CABI_TMP_BL_3 | ℃ | ℃
|  | Bending (Flapwise) | BM_FLAP | Pa | Pa | TD_DM_BLADE_THREE | wt_rams
|  | Bending (Edgewise) | BM_EDGE | Pa | Pa
|  | Torsion | TOR | Pa | Pa
| Pitch System | Pitch Angle | PITCH_ANGLE_MEAS | º (deg) | º (deg) | TD_DA_OUTPUT | wt_rams
|  | Design Age | PITCH_DESIGN_AGE | month | month | TD_FP_RUL | wt_rams
|  | Estimated Age | PITCH_EST_AGE | month | month
|  | Health Index | PITCH_HEALTH_IDX | % | %
1-3-2. 풍력HM-Overview-Nacelle&Tower | Tower Top | Bending (N-S) | TOP_BM_NS | Pa | Pa | TD_DM_TOWER | wt_rams
|  | Bending (E-W) | TOP_BM_EW | Pa | Pa
|  | Torsional | TOP_TOR | Pa | Pa
| Tower Bottom | Bending (N-S) | BASE_BM_NS | Pa | Pa
|  | Bending (E-W) | BASE_BM_EW | Pa | Pa
| Nacelle | Vibration (Normal) | VIB_NORM | m/s2 | m/s2
|  | Vibration (Lateral) | VIB_LAT | m/s2 | m/s2
1-3-3. 풍력HM-Overview-GearBox | Fan | low speed | GBX_FAN_LO_SPD_ST | - | - | TB_SCADA_AD_1S | 2023_tswd_dalk
|  | high speed | GBX_FAN_HI_SPD_ST | - | -
| Rotor | lock (set) | ROT_LOCK_ST (1:set 0:free) | - | -
|  | lock (free) | ROT_LOCK_ST (1:set 0:free) | - | -
|  | rotor speed | ROT_SPD | m/s | m/s
| main bearing | max. bearing temp. | TM_TMP_SHF_BRG_MAX | ℃ | ℃ | TB_SCADA_AD_1S
|  | Vibration Acceleration - Axial | VIB_ACC_AX | m/s2 | m/s2 | TD_DM_DRIVE_TRAIN | wt_rams
|  | Vibration Acceleration - Horizontal | VIB_ACC_HORZ | m/s2 | m/s2
|  | Vibration Velocity - Axial | VIB_VEL_AX | mm/s | mm/s
|  | Vibration Velocity - Horizontal | VIB_VEL_HORZ | mm/s | mm/s
| gear box | Vibration Acceleration - 1st Stage Planetary Gear Bearing (1st) - Horizontal | VIB_ACC_1SPGB_HORZ | m/s2 | m/s2 | TD_DM_GEARBOX
|  | Vibration Acceleration - 2nd Stage Planetary Gear Bearing (2nd)- Horizontal | VIB_ACC_2SPGB_HORZ | m/s2 | m/s2
|  | Vibration Acceleration - Low Speed Axis (3rd) - Vertical | VIB_ACC_LSA_VERT | m/s2 | m/s2
|  | Vibration Acceleration - High Speed Axis (Out) - Horizontal | VIB_ACC_HSA_HORZ | m/s2 | m/s2
|  | Vibration Velocity - 1st Stage Planetary Gear Bearing (1st) - Horizontal | VIB_VEL_1SPGB_HORZ | mm/s | mm/s
|  | Vibration Velocity - 2nd Stage Planetary Gear Bearing (2nd)- Horizontal | VIB_VEL_2SPGB_HORZ | mm/s | mm/s
|  | Vibration Velocity - Low Speed Axis (3rd) - Vertical | VIB_VEL_LSA_VERT | mm/s | mm/s
|  | Vibration Velocity - High Speed Axis (Out) - Horizontal | VIB_VEL_HSA_HORZ | mm/s | mm/s
| oil pump | low speed | GBX_OIL_PMP_LO_SPD_ST | - | - | TB_SCADA_AD_1S | 2023_tswd_dalk
|  | high speed | GBX_OIL_PMP_HI_SPD_ST | - | -
|  | pressure | GBX_OIL_PRES | Pa | Pa
|  | oil inlet pressure | GBX_OIL_IN_PRES | Pa | Pa
|  | oil inlet temp. | TM_TMP_GBX_OIL | ℃ | ℃
|  | oil tank temp. | GBX_OIL_TNK_TMP | ℃ | ℃
|  | oil heater temp. | GBX_OIL_HT_TMP | ℃ | ℃
|  | oil level | GBX_OIL_LEV_ST | - | -
1-3-4. 풍력HM-Overview-Generator | Brake | Hydraulic oil pump | GN_BRK_HY_PRES_ST | - | - | TB_SCADA_AD_1S | 2023_tswd_dalk
|  | hydraulic pressure | GN_BRK_HY_PMP_ST | - | -
| Generator | water inlet temp. | GN_TMP_IN_LET | ℃ | ℃ | TB_SCADA_AD_1S
|  | bearing non drive temp. | GN_BRG_NDET_TMP | ℃ | ℃
|  | generator speed | WGEN_SPD | m/s | m/s
|  | slipring space temp. | GN_SLI_TMP | ℃ | ℃
|  | active power | WGEN_W | Wh | Wh
|  | winding [u] temp | GN_TMP_U | ℃ | ℃
|  | winding [v] temp | GN_TMP_V | ℃ | ℃
|  | winding [w] temp | GN_TMP_W | ℃ | ℃
|  | bearing drive temp | GN_BRG_DET_TMP | ℃ | ℃
|  | winding temp. max | GN_TMP_STA_MAX | ℃ | ℃
|  | bearing temp. max. | GN_BRG_TMP_MAX | ℃ | ℃
|  | Vibration Acceleration - Drive End (DE) - Horizonal | VIB_ACC_DE_HORZ | m/s2 | m/s2 | TD_DM_GENERATOR | wt_rams
|  | Vibration Acceleration - Non Drive End (NDE) - Horizontal | VIB_ACC_NDE_HORZ | m/s2 | m/s2
|  | Vibration Velocity - Drive End (DE) - Horizonal | VIB_VEL_DE_HORZ | mm/s | mm/s
|  | Vibration Velocity - Non Drive End (NDE) - Horizontal | VIB_VEL_NDE_HORZ | mm/s | mm/s
1-3-5. 풍력HM-Overview-Yaw | Info | position ready for prod. | WYAW_POS_OK_ST | - | - | TB_SCADA_AD_1S | 2023_tswd_dalk
|  | service box connect | WYAW_SER_BOX_ST | - | -
|  | end position | WYAW_POS_END_ST | - | -
| motor | calculated torque | WYAW_YW_TORQ | Nm | Nm
| brake | released | WYAW_MOT_BRK_ST | - | -
| yaw | position | WYAW_YAW_ANG | º (deg) | º (deg) | TB_SCADA_AD_1S
|  | -deviation | WYAW_YW_POS_ERR_DMD | º (deg) | º (deg)
|  | initialized | WYAW_POS_INI_ST | - | -
|  | automatic mode | WYAW_CM_YW_AUT_ST | - | -
|  | running | WYAW_ON_ST | - | -
|  | Design Age | YAW_DESIGN_AGE | month | month | TD_FP_RUL | wt_rams
|  | Estimated Age | YAW_EST_AGE | month | month
|  | Health Index | YAW_HEALTH_IDX | % | %
1-4-1. 풍력HM-진단-Blade&Pitch | Blade 1 | Bending (Flapwise) | BM_FLAP | Pa | Pa | TD_DM_BLADE_ONE | wt_rams
|  | Bending (Edgewise) | BM_EDGE | Pa | Pa
|  | Torsion | TOR | Pa | Pa
|  | DEL (Flapwise) | FLAP_DEL | Pa | Pa | TD_DS_BLADE_1
|  | DEL (Edge) | EDGE_DEL | Pa | Pa
|  | Nominal Age | BLADE_1_NOM_AGE | month | month | TD_FP_RUL
|  | Estimated Fatigue Age | BLADE_1_EST_FAT_AGE | month | month
|  | Estimated Fatigue Margin | BLADE_1_EST_FAT_MARGIN | month | month
| Blade 2 | Bending (Flapwise) | BM_FLAP | Pa | Pa | TD_DM_BLADE_2
|  | Bending (Edgewise) | BM_EDGE | Pa | Pa
|  | Torsion | TOR | Pa | Pa
|  | DEL (Flapwise) | FLAP_DEL | Pa | Pa | TD_DS_BLADE_TWO
|  | DEL (Edge) | EDGE_DEL | Pa | Pa
|  | Nominal Age | BLADE_2_NOM_AGE | month | month | TD_FP_RUL
|  | Estimated Fatigue Age | BLADE_2_EST_FAT_AGE | month | month
|  | Estimated Fatigue Margin | BLADE_2_EST_FAT_MARGIN | month | month
| Blade 3 | Bending (Flapwise) | BM_FLAP | Pa | Pa | TD_DM_BLADE_THREE
|  | Bending (Edgewise) | BM_EDGE | Pa | Pa
|  | Torsion | TOR | Pa | Pa
|  | DEL (Flapwise) | FLAP_DEL | Pa | Pa | TD_DS_BLADE_3
|  | DEL (Edge) | EDGE_DEL | Pa | Pa
|  | Nominal Age | BLADE_3_NOM_AGE | month | month | TD_FP_RUL
|  | Estimated Fatigue Age | BLADE_3_EST_FAT_AGE | month | month
|  | Estimated Fatigue Margin | BLADE_3_EST_FAT_MARGIN | month | month
| Pitch System | Pitch Angle (Measured Value) | PITCH_ANGLE_MEAS | º (deg) | º (deg) | TD_DA_OUTPUT
|  | Pitch Angle (Prediction Value) | PITCH_ANGLE_PRED | º (deg) | º (deg)
|  | Pitch Angle (Deviation) | PITCH_ANGLE_DEV | º (deg) | º (deg)
|  | Design Age | PITCH_DESIGN_AGE | month | month | TD_FP_RUL
|  | Estimated Age | PITCH_EST_AGE | month | month
|  | Health Index | PITCH_HEALTH_IDX | % | %
| Tower top | Bending (N-S) | TOP_BM_NS | Pa | Pa | TD_DM_TOWER
|  | Bending (E-W) | TOP_BM_EW | Pa | Pa
|  | Torsional | TOP_TOR | Pa | Pa
|  | DEL | TOP_DEL | Pa | Pa | TD_DS_TOWER
|  | Nominal Age | TOWER_NOM_AGE | month | month | TD_FP_RUL
|  | Estimated Fatigue Age | TOWER_EST_FAT_AGE | month | month
|  | Estimated Fatigue Margin | TOWER_EST_FAT_MARGIN | month | month
| Tower Bottom | Bending (N-S) | BOTTOM_BM_NS | Pa | Pa | TD_DM_TOWER
|  | Bending (E-W) | BOTTOM_BM_EW | Pa | Pa
|  | DEL | TOP_DEL | Pa | Pa | TD_DS_TOWER
|  | Nominal Age | TOWER_NOM_AGE | month | month | TD_FP_RUL
|  | Estimated Fatigue Age | TOWER_EST_FAT_AGE | month | month
|  | Estimated Fatigue Margin | TOWER_EST_FAT_MARGIN | month | month
| Nacelle | Vibration (Normal) | VIB_NORM | m/s2 | m/s2 | TD_DM_TOWER
|  | Vibration (Lateral) | VIB_LAT | m/s2 | m/s2
|  | Vibration RMS (Normal) | NAC_VEL_RMS_NORM | m/s2 | m/s2 | TD_DS_TOWER
|  | Vibration RMS (Lateral) | NAC_VIB_RMS_LAT | m/s2 | m/s2
1-4-3. 풍력HM-진단-GearBox | gear box | Vibration Acceleration - 1st Stage Planetary Gear Bearing (1st) - Horizontal | VIB_ACC_1SPGB_HORZ | m/s2 | m/s2 | TD_DM_GEARBOX | wt_rams
|  | Vibration Acceleration - 2nd Stage Planetary Gear Bearing (2nd)- Horizontal | VIB_ACC_2SPGB_HORZ | m/s2 | m/s2
|  | Vibration Acceleration - Low Speed Axis (3rd) - Vertical | VIB_ACC_LSA_VERT | m/s2 | m/s2
|  | Vibration Acceleration - High Speed Axis (Out) - Horizontal | VIB_ACC_HSA_HORZ | m/s2 | m/s2
|  | Vibration Velocity - 1st Stage Planetary Gear Bearing (1st) - Horizontal | VIB_VEL_1SPGB_HORZ | mm/s | mm/s
|  | Vibration Velocity - 2nd Stage Planetary Gear Bearing (2nd)- Horizontal | VIB_VEL_2SPGB_HORZ | mm/s | mm/s
|  | Vibration Velocity - Low Speed Axis (3rd) - Vertical | VIB_VEL_LSA_VERT | mm/s | mm/s
|  | Vibration Velocity - High Speed Axis (Out) - Horizontal | VIB_VEL_HSA_HORZ | mm/s | mm/s
|  | Acceleration RMS - 1st Stage Planetary Gear Bearing (1st) - Horizontal | ACC_RMS_1SPGB_HORZ | m/s2 | m/s2 | TD_DS_GEARBOX
|  | Acceleration RMS - 2nd Stage Planetary Gear Bearing (2nd)- Horizontal | ACC_RMS_2SPGB_HORZ | m/s2 | m/s2
|  | Acceleration RMS - Low Speed Axis (3rd) - Vertical | ACC_RMS_LSA_VERT | m/s2 | m/s2
|  | Acceleration RMS - High Speed Axis (Out) - Horizontal | ACC_RMS_HSA_HORZ | m/s2 | m/s2
|  | Velocity RMS - 1st Stage Planetary Gear Bearing (1st) - Horizontal | VEL_RMS_1SPGB_HORZ | mm/s | mm/s
|  | Velocity RMS - 2nd Stage Planetary Gear Bearing (2nd)- Horizontal | VEL_RMS_2SPGB_HORZ | mm/s | mm/s
|  | Velocity RMS - Low Speed Axis (3rd) - Vertical | VEL_RMS_LSA_VERT | mm/s | mm/s
|  | Velocity RMS - High Speed Axis (Out) - Horizontal | VEL_RMS_HSA_HORZ | mm/s | mm/s
|  | Gearbox Temperate - Measured Value | GB_MEAS_TEMP | ℃ | ℃ | TD_DA_OUTPUT
|  | Gearbox Temperate - Predicted Value | GB_PRED_TEMP | ℃ | ℃
|  | Gearbox Temperate - Deviation | GB_TEMP_DEV | ℃ | ℃
|  | Design Age | GB_DESIGN_AGE | month | month | TD_FP_RUL
|  | Estimated Age | GB_EST_AGE | month | month
|  | Health Index | GB_HEALTH_IDX | % | %
| main bearing | Vibration Acceleration - Axial | VIB_ACC_AX | m/s2 | m/s2 | TD_DM_DRIVE_TRAIN
|  | Vibration Acceleration - Horizontal | VIB_ACC_HORZ | m/s2 | m/s2
|  | Vibration Velocity - Axial | VIB_VEL_AX | mm/s | mm/s
|  | Vibration Velocity - Horizontal | VIB_VEL_HORZ | mm/s | mm/s
|  | Acceleration RMS - Axial [m/s2] | ACC_RMS_AX | m/s2 | m/s2 | TD_DS_DRIVE_TRAIN
|  | Acceleration RMS - Horizontal [m/s2] | ACC_RMS_HORZ | m/s2 | m/s2
|  | Velocity RMS - Axial [mm/s] | VEL_RMS_AX | mm/s | mm/s
|  | Velocity RMS - Horizontal [mm/s] | VEL_RMS_HORZ | mm/s | mm/s
|  | MainBearing Temperate - Measured Value | MB_MEAS_TEMP | ℃ | ℃ | TD_DA_OUTPUT
|  | MainBearing Temperate - Predicted Value | MB_PRED_TEMP | ℃ | ℃
|  | MainBearing Temperate - Deviation | MB_TEMP_DEV | ℃ | ℃
|  | Design Age | MB_DESIGN_LIFE | month | month | TD_FP_RUL
|  | Estimated Age | MB_EST_LIFE | month | month
|  | Health Index | MB_HEALTH_IDX | % | %
1-4-4. 풍력HM-진단-Generator | generator | Vibration Acceleration - Drive End (DE) - Horizonal | VIB_ACC_DE_HORZ | m/s2 | m/s2 | TD_DM_GENERATOR | wt_rams
|  | Vibration Acceleration - Non Drive End (NDE) - Horizontal | VIB_ACC_NDE_HORZ | m/s2 | m/s2
|  | Vibration Velocity - Drive End (DE) - Horizonal | VIB_VEL_DE_HORZ | mm/s | mm/s
|  | Vibration Velocity - Non Drive End (NDE) - Horizontal | VIB_VEL_NDE_HORZ | mm/s | mm/s
|  | Acceleration RMS - Horizonal (DE) | ACC_RMS_HORZ_DE | m/s2 | m/s2 | TD_DS_GENERATOR
|  | Acceleration RMS - Horizontal (NDE) | ACC_RMS_HORZ_NDE | m/s2 | m/s2
|  | Velocity RMS - Horizonal (DE) | VEL_RMS_HORZ_DE | mm/s | mm/s
|  | Velocity RMS - Horizontal (NDE) | VEL_RMS_HORZ_NDE | mm/s | mm/s
|  | Generator Winding A Temperate - Measured Value | GENA_MEAS_TEMP | ℃ | ℃ | TD_DA_OUTPUT
|  | Generator Winding A Temperate - Predicted Value | GENA_PRED_TEMP | ℃ | ℃
|  | Generator Winding A Temperate - Deviation | GENA_TEMP_DEV | ℃ | ℃
|  | Generator Winding B Temperate - Measured Value | GENB_MEAS_TEMP | ℃ | ℃
|  | Generator Winding B Temperate - Predicted Value | GENB_PRED_TEMP | ℃ | ℃
|  | Generator Winding B Temperate - Deviation | GENB_TEMP_DEV | ℃ | ℃
|  | Generator Winding C Temperate - Measured Value | GENC_MEAS_TEMP | ℃ | ℃
|  | Generator Winding C Temperate - Predicted Value | GENC_PRED_TEMP | ℃ | ℃
|  | Generator Winding C Temperate - Deviation | GENC_TEMP_DEV | ℃ | ℃
|  | Generator Design Age | GEN_DESIGN_AGE | month | month | TD_FP_RUL
|  | Generator Estimated Age | GEN_EST_AGE | month | month
|  | Generator Health Index | GEN_HEALTH_IDX | % | %
1-4-5. 풍력HM-진단-Yaw | yaw | Yaw Angle - Nacelle Position | YAW_ANGLE_NACELLE | º (deg) | º (deg) | TD_DA_OUTPUT | wt_rams
|  | Yaw Angle - Wind Direction | YAW_ANGLE_WIND_DIR | º (deg) | º (deg)
|  | Yaw Angle - Deviation | YAW_ANGLE_DEV | º (deg) | º (deg)
|  | Yaw System Design Age | YAW_DESIGN_AGE | month | month | TD_FP_RUL
|  | Yaw System Estimated Age | YAW_EST_AGE | month | month
|  | Yaw System Health Index | YAW_HEALTH_IDX | % | %

## Sheet1
화살표가 따로따로 움직어야함

## Alert Alarm 목록
대상 | 알람명 | 알람내용 | 비교 대상 | 테이블
blade 1 | Blade 1 Alert | Blade 1 Flapwise DEL High | FLAP_ALRT_LVL | TD_DS_BLADE_1 | 규칙 NORMAL : 값 < ALRT_LVL ALERT : ALRT_LVL < 값 < ALRM_LVL ALARM : ALRM_LVL < 값
FLAP_DEL
FLAP_ALRM_LVL
|  | Blade 1 Edgewise DEL High | EDGE_ALRT_LVL
EDGE_DEL
EDGE_ALRM_LVL
| Blade 1 Alarm | Blade 1 Flapwise DEL High | FLAP_DEL
FLAP_ALRM_LVL
|  | Blade 1 Edgewise DEL High | EDGE_DEL
EDGE_ALRM_LVL
blade 2 | Blade 2 Alert | Blade 2 Flapwise DEL High | FLAP_ALRT_LVL | TD_DS_BLADE_2
FLAP_DEL
FLAP_ALRM_LVL
|  | Blade 2 Edgewire DEL High | EDGE_ALRT_LVL
EDGE_DEL
EDGE_ALRM_LVL
| Blade 2 Alarm | Blade 2 Flapwise DEL High | FLAP_DEL
FLAP_ALRM_LVL
|  | Blade 2 Edgewire DEL High | EDGE_DEL
EDGE_ALRM_LVL
blade 3 | Blade 3 Alert | Blade 3 Flapwise DEL High | FLAP_ALRT_LVL | TD_DS_BLADE_3
FLAP_DEL
FLAP_ALRM_LVL
|  | Blade 3 Edgewire DEL High | EDGE_ALRT_LVL
EDGE_DEL
EDGE_ALRM_LVL
| Blade 3 Alarm | Blade 3 Flapwise DEL High | FLAP_DEL
FLAP_ALRM_LVL
|  | Blade 3 Edgewire DEL High | EDGE_DEL
EDGE_ALRM_LVL
Tower Top | Tower Top Alert | Tower Top DEL High | TOP_DIAG_ALRT_LVL | TD_DS_TOWER
TOP_DEL
TOP_DIAG_ALRM_LVL
|  | Tower Top (Nacelle) Normal Vibration High | NAC_VIB_ALRT_LVL_NORM
NAC_VEL_RMS_NORM
NAC_VIB_ALRM_LVL_NORM
|  | Tower Top (Nacelle) Lateral Vibration High | NAC_VIB_ALRT_LVL_LAT
NAC_VIB_RMS_LAT
NAC_VIB_ALRM_LVL_LAT
| Tower Top Alarm | Tower Top DEL High | TOP_DEL
TOP_DIAG_ALRM_LVL
|  | Tower Top (Nacelle) Normal Vibration High | NAC_VEL_RMS_NORM
NAC_VIB_ALRM_LVL_NORM
|  | Tower Top (Nacelle) Lateral Vibration High | NAC_VIB_RMS_LAT
NAC_VIB_ALRM_LVL_LAT
Tower Bottom | Tower Bottom Alert | Tower Bottom DEL High | BOTTOM_DIAG_ALRT_LVL
BOTTOM_DEL
BOTTOM_DIAG_ALRM_LVL
| Tower Bottom Alarm | Tower Bottom DEL High | BOTTOM_DEL
BOTTOM_DIAG_ALRM_LVL
Main Bearing | Main Bearing Alert | Main Bearing- Axial Vibration Velocity High | VEL_ALRT_LVL_AX | TD_DS_DRIVE_TRAIN
VEL_RMS_AX
VEL_ALRM_LVL_AX
|  | Main Bearing- Horizontal Vibration Velocity High | VEL_ALRT_LVL_HORZ
VEL_RMS_HORZ
VEL_ALRM_LVL_HORZ
|  | Main Bearing- Axial Vibration Acceleration High | ACC_ALRT_LVL_AX
ACC_RMS_AX
ACC_ALRM_LVL_AX
|  | Main Bearing- Horizontal Vibration Acceleration High | ACC_ALRT_LVL_HORZ
ACC_RMS_HORZ
ACC_ALRM_LVL_HORZ
|  | Abnormal Related to Main Bearing Temperature | MB_DIAG_ALRT_LVL | TD_DA_OUTPUT
MB_TEMP_DEV
MB_DIAG_ALRM_LVL
| Main Bearing Alarm | Main Bearing- Axial Vibration Velocity High | VEL_RMS_AX | TD_DS_DRIVE_TRAIN
VEL_ALRM_LVL_AX
|  | Main Bearing- Horizontal Vibration Velocity High | VEL_RMS_HORZ
VEL_ALRM_LVL_HORZ
|  | Main Bearing- Axial Vibration Acceleration High | ACC_RMS_AX
ACC_ALRM_LVL_AX
|  | Main Bearing- Horizontal Vibration Acceleration High | ACC_RMS_HORZ
ACC_ALRM_LVL_HORZ
|  | Abnormal Related to Main Bearing Temperature | MB_TEMP_DEV | TD_DA_OUTPUT
MB_DIAG_ALRM_LVL
Gearbox | Gearbox Alert | Gearbox - 1st Stage Planetary Gear Bearing (1st) Vibration Velocity High | VEL_ALRT_LVL_1SPGB | TD_DS_GEARBOX
VEL_RMS_1SPGB_HORZ
VEL_ALRM_LVL_1SPGB
|  | Gearbox - 2nd Stage Planetary Gear Bearing (2nd) Vibration Velocity High | VEL_ALRT_LVL_2SPGB
VEL_RMS_2SPGB_HORZ
VEL_ALRM_LVL_2SPGB
|  | Gearbox - Low Speed Axis (3rd) Vibration Velocity High | VEL_ALRT_LVL_LSA
VEL_RMS_LSA_VERT
VEL_ALRM_LVL_LSA
|  | Gearbox - High Speed Axis (Out) Vibration Velocity High | VEL_ALRT_LVL_HSA
VEL_RMS_HSA_HORZ
VEL_ALRM_LVL_HSA
|  | Gearbox - 1st Stage Planetary Gear Bearing (1st) Vibration Acceleration High | ACC_ALRT_LVL_1SPGB
ACC_RMS_1SPGB_HORZ
ACC_ALRM_LVL_1SPGB
|  | Gearbox - 2nd Stage Planetary Gear Bearing (2nd) Vibration Acceleration High | ACC_ALRT_LVL_2SPGB
ACC_RMS_2SPGB_HORZ
ACC_ALRM_LVL_2SPGB
|  | Gearbox - Low Speed Axis (3rd) Vibration Acceleration High | ACC_ALRT_LVL_LSA
ACC_RMS_LSA_VERT
ACC_ALRM_LVL_LSA
|  | Gearbox - High Speed Axis (Out) Vibration Acceleration High | ACC_ALRT_LVL_HSA
ACC_RMS_HSA_HORZ
ACC_ALRM_LVL_HSA
|  | Abnormal related to Gearbox Temperature | GB_DIAG_ALRT_LVL | TD_DA_OUTPUT
GB_TEMP_DEV
GB_DIAG_ALRM_LVL
| Gearbox Alarm | Gearbox - 1st Stage Planetary Gear Bearing (1st) Vibration Velocity High | VEL_RMS_1SPGB_HORZ | TD_DS_GEARBOX
VEL_ALRM_LVL_1SPGB
|  | Gearbox - 2nd Stage Planetary Gear Bearing (2nd) Vibration Velocity High | VEL_RMS_2SPGB_HORZ
VEL_ALRM_LVL_2SPGB
|  | Gearbox - Low Speed Axis (3rd) Vibration Velocity High | VEL_RMS_LSA_VERT
VEL_ALRM_LVL_LSA
|  | Gearbox - High Speed Axis (Out) Vibration Velocity High | VEL_RMS_HSA_HORZ
VEL_ALRM_LVL_HSA
|  | Gearbox - 1st Stage Planetary Gear Bearing (1st) Vibration Acceleration High | ACC_RMS_1SPGB_HORZ
ACC_ALRM_LVL_1SPGB
|  | Gearbox - 2nd Stage Planetary Gear Bearing (2nd) Vibration Acceleration High | ACC_RMS_2SPGB_HORZ
ACC_ALRM_LVL_2SPGB
|  | Gearbox - Low Speed Axis (3rd) Vibration Acceleration High | ACC_RMS_LSA_VERT
ACC_ALRM_LVL_LSA
|  | Gearbox - High Speed Axis (Out) Vibration Acceleration High | ACC_RMS_HSA_HORZ
ACC_ALRM_LVL_HSA
|  | Abnormal related to Gearbox Temperature | GB_TEMP_DEV | TD_DA_OUTPUT
GB_DIAG_ALRM_LVL
Generator | Generator Alert | Generator – Drive End (DE) Vibration Velocity High | VEL_ALRT_LVL_HORZ_DE | TD_DS_GENERATOR
VEL_RMS_HORZ_DE
VEL_ALRM_LVL_HORZ_DE
|  | Generator – Non Drive End (NDE) Vibration Velocity High | VEL_ALRT_LVL_HORZ_NDE
VEL_RMS_HORZ_NDE
VEL_ALRM_LVL_HORZ_NDE
|  | Generator – Drive End (DE) Vibration Acceleration High | ACC_ALRT_LVL_HORZ_DE
ACC_RMS_HORZ_DE
ACC_ALRM_LVL_HORZ_DE
|  | Generator – Non Drive End (NDE) Vibration Acceleration High | ACC_ALRT_LVL_HORZ_NDE
ACC_RMS_HORZ_NDE
ACC_ALRM_LVL_HORZ_NDE
|  | Abnormal Related to Generator Winding A Temperature | GENA_DIAG_ALRT_LVL | TD_DA_OUTPUT
GENA_TEMP_DEV
GENA_DIAG_ALRM_LVL
|  | Abnormal Related to Generator Winding B Temperature | GENB_DIAG_ALRT_LVL
GENB_TEMP_DEV
GENB_DIAG_ALRM_LVL
|  | Abnormal Related to Generator Winding C Temperature | GENC_DIAG_ALRT_LVL
GENC_TEMP_DEV
GENC_DIAG_ALRM_LVL
| Generator Alarm | Generator – Drive End (DE) Vibration Velocity High | VEL_RMS_HORZ_DE | TD_DS_GENERATOR
VEL_ALRM_LVL_HORZ_DE
|  | Generator – Non Drive End (NDE) Vibration Velocity High | VEL_RMS_HORZ_NDE
VEL_ALRM_LVL_HORZ_NDE
|  | Generator – Drive End (DE) Vibration Acceleration High | ACC_RMS_HORZ_DE
ACC_ALRM_LVL_HORZ_DE
|  | Generator – Non Drive End (NDE) Vibration Acceleration High | ACC_RMS_HORZ_NDE
ACC_ALRM_LVL_HORZ_NDE
|  | Abnormal Related to Generator Winding A Temperature | GENA_TEMP_DEV | TD_DA_OUTPUT
GENA_DIAG_ALRM_LVL
|  | Abnormal Related to Generator Winding B Temperature | GENB_TEMP_DEV
GENB_DIAG_ALRM_LVL
|  | Abnormal Related to Generator Winding C Temperature | GENC_TEMP_DEV
GENC_DIAG_ALRM_LVL
Pitch System | Pitch System Alert | Pitch System Mal-operation | PITCH_DIAG_ALRT_LVL | TD_DA_OUTPUT
PITCH_ANGLE_DEV
PITCH_DIAG_ALRM_LVL
| Pitch System Alarm | Pitch System Mal-operation | PITCH_ANGLE_DEV
PITCH_DIAG_ALRM_LVL
Yaw System | Yaw System Alert | Yaw System Mal-operation | YAW_DIAG_ALRT_LVL | TD_DA_OUTPUT
YAW_ANGLE_DEV
YAW_DIAG_ALRM_LVL
| Yaw System Alarm | Yaw System Mal-operation | YAW_ANGLE_DEV
YAW_DIAG_ALRM_LVL
Turbine Power Production | Power Production Alert | Abnormal Related to Turbine Power Production | POWER_DIAG_ALRT_LVL | TD_DA_OUTPUT
POWER_DEV
POWER_DIAG_ALRM_LVL
| Power Production Alarm | Abnormal Related to Turbine Power Production | POWER_DEV
POWER_DIAG_ALRM_LVL